To:	Mayor Flury, Vice Mayor Grace, Commissioner McElyea, Commissioner Castro and Commissioner Duke

Cc:		Robert Baldwin, City Manager

Colin Donnelly, Assistant City Manager

From:		Antoine Pollard, Department of Parks and Recreation

Date:		October 04, 2011

Subject:	St. Maurice Country Fair

Event Date(s): November 10-13, 2011

________________________________________________________________________

A Special Event is requested by the St. Maurice Catholic Church for an Annual Country Fair to be held November 10–13, 2011. This event will be located at 2851 Stirling Road. There will be carnival rides, a petting zoo, rummage sales, a Christmas Booth, food and beverages at this event.

Applicant is seeking City supply EMS services.  Since the City now contracts for EMS services this would be a hard cost for the City, thus applicant will have to contract with BSO for EMS services.

Recommendation: Approval with the compliance of the conditions noted below.

| Staff | Comments/Conditions | Approved |
| --- | --- | --- |
| Sean Brown/ BSO Fire Dept. | Yes,Contingent upon requirements/recommendation**Applicant is in Compliance Each ride must be inspected by the Florida Dept. of Agriculture prior to the opening of such ride. All rides must have dedicated Fire Extinguishers. Permits required for Tents/Canopies Check with Building Dept. for permit requirement for generator. Pre-Event Fire Inspection is required. Please schedule with the BSO Fire Rescue (Dania Beach District) Fire Marshal’s Office (954)342-4262. All electrical cords must be sufficiently protected from water and causing trip hazards. All LP Gas tanks must be secured in an approved method. (No Smoking Signs must also be present) Fire Department Access must be maintained at all times. Fire extinguishers for remainder of Fair are to be provided in accordance with the requirements on the application sheet. Any trailer or vehicle used in the preparation of food that produces grease-laden vapors must be equipped with a currently certified, UL-300 compliant Automatic Fire Suppression System and Hood. No overnight lodging of fair workers or any others unless the lodging is in “RV’s” or other approved accommodations. Please call The Broward Sheriff’s Office, Department of Fire Rescue and Emergency Services at (954)831-8210 to schedule the Fire Department EMS detail for the event. |  |
| Dominic Orlando/P.S. | No Issues | Yes |
| Corinne Lajoie/Community Dev. | No Issues | Yes |
| Jack Fisher/Community Dev. | Tent, Electrical, Plumbing, Generator, Gas Permits**Applicant in Compliance | Yes |
| Tom Ansbro/City Attorney | No Issues | Yes |
| Jackie Beauzil/HR/Risk Mgmt | No Issues | Yes |
| Kristen Jones/Parks & Recreation | No Issues | Yes |
| Nick Lupo/Code | No Issues | Yes |
| Mike Grimm/BSO | No Issues | Yes |