RESOLUTION NO. 2012-019

A RESOLUTION OF THE CITY COMMISSION OF THE CITY OF DANIA BEACH, FLORIDA, APPROVING THE REQUEST MADE BY RUSSEL LAZEGA FOR AN EXTENSION TO THE APPROVED (MODIFIED) SITE PLAN (SP-39-09) GRANTED BY RESOLUTION 2011-017 ON FEBRUARY 22, 2011, AND FOR THE VARIANCE (VA-50-09) GRANTED BY RESOLUTION 2010-002 ON JANUARY 12, 2010, FOR PROPERTY LOCATED AT 45 EAST SHERIDAN STREET IN THE CITY OF DANIA BEACH, FLORIDA; PROVIDING FOR CONFLICTS; FURTHER, PROVIDING FOR AN EFFECTIVE DATE.

WHEREAS, on January 12, 2010, pursuant to Resolution No. 2010-002, the City Commission approved a variance request (VA-50-09) to allow for 6 onsite parking spaces (Chapter 28, “Zoning”, Article 21.17, “South Federal Highway Transit Oriented Corridor (TOC-2) District”, requires a minimum of 41 onsite parking spaces) for property located at 45 East Sheridan Street, Dania Beach; and

WHEREAS, on January 12, 2010, pursuant to Resolution No. 2010-003, the City Commission approved the site plan request (SP-39-09) relating to the proposed construction of an addition to an office building for the property; and

WHEREAS, on February 22, 2011, the City Commission, pursuant to Resolution No. 2011-017, granted modifications to the previously approved site plan for the proposed construction of an addition to an office building for the property; and

WHEREAS, Russel Lazega is requesting an extension of the approvals associated with the above described project for one year, until February 28, 2013;

NOW, THEREFORE, BE IT RESOLVED BY THE CITY COMMISSION OF THE CITY OF DANIA BEACH, FLORIDA:

Section 1.	That the requests to extend the expiration date of the approvals to February 28, 2013 for the site plan and variance requests are approved, subject to the following conditions:

The site plan was previously reviewed by the Fire Marshal, Broward Sheriff’s Office, the City Public Services Department, the City’s landscape consultant, the CRA Director and the City Planning Division.  The following items must be addressed by the applicant prior to final approval for permitting:

Public Services

•	Broward County surface water management license shall be provided.

•	Provide enough grades at the site perimeter to show the proposed improvements will not cause the site to drain into public right-of-way.

•	Provide grades for the proposed sidewalk in public right-of-way to ensure it can be constructed to meet ADA criteria for longitudinal and cross slope.

•	Provide grades for the connection between the public sidewalk and the covered walkway, which would be the required ADA accessible route.

•	Provide edge of pavement/face of curb grades at areas of pavement widening to ensure no ponding will be caused in public right-of-way.

•	Provide drainage calculations for handling additional impervious area as a result of the new addition.

•	Provide a detail showing the pavement design for the new concrete driveway and loading area on northwest side of the property.

•	Consider relocating the valve on the water line next to the tee and keep the valve closed to allow isolation of stagnate section.

Fire Marshal

•	Fire flow demand, using ISO requirements or NFPA 1, Annex H, must be provided.

Section 2.	That all resolutions or parts of resolutions in conflict with this Resolution are repealed to the extent of such conflict.

Section 3.	That this Resolution shall be in full force and take effect immediately upon its passage and adoption.

PASSED AND ADOPTED on February 28, 2012.

ATTEST:

LOUISE STILSON, CMC					PATRICIA A. FLURY

CITY CLERK							MAYOR

APPROVED AS TO FORM AND CORRECTNESS:

THOMAS J. ANSBRO

CITY ATTORNEY