- ORDINANCE NO. 2012-014

AN ORDINANCE OF THE CITY COMMISSION OF THE CITY OF DANIA BEACH, FLORIDA, AMENDING THE LAND DEVELOPMENT CODE BY AMENDING ARTICLE 220 “SUPPLEMENTAL BUILDING AND STRUCTURE HEIGHT REGULATIONS (INCLUDING LOWEST FINISHED FLOOR); “ROOFTOP REGULATIONS” IN ORDER TO PROVIDE REGULATIONS OF ROOFTOP PHOTOVOLTAIC SOLAR SYSTEMS IN RESIDENTIAL AND SMALL COMMERCIAL STRUCTURES TO IMPLEMENT THE “GO SOLAR” BROWARD ROOFTOP CHALLENGE PERMITTING PROCESS; PROVIDING FOR CONFLICTS; PROVIDING FOR SEVERABILITY; FURTHER, PROVIDING FOR AN EFFECTIVE DATE.

WHEREAS, Article VIII, Section 2 of the Florida Constitution, and Chapter 166, Florida Statutes, provide municipalities the authority to exercise any power for municipal purposes, except where prohibited by law, and to adopt ordinances in furtherance of such authority; and

WHEREAS, Objective V of the Future Land Use Element of the City of Dania Beach Comprehensive Plan provides that the City of Dania Beach will maintain land development regulations and zoning regulations to implement the City’s Comprehensive Plan; and

WHEREAS, the City Commission of the City of Dania Beach (“City Commission”) finds it periodically necessary to amend its Code of Ordinances and Land Development Code (“Code”) in order to update regulations and procedures to implement municipal goals and objectives; and

WHEREAS, Go SOLAR Broward Rooftop Solar Challenge (“Go SOLAR”) is a U.S. Department of Energy grant-funded program that makes it easier for Broward County residents and businesses to convert to solar energy, by reducing the cost and wait time associated with the installation process for rooftop photovoltaic solar systems; and

WHEREAS, on July 27, 2011, the City of Dania Beach provided a letter of commitment to Broward County for participation in the ‘Go SOLAR” program; and

WHEREAS, Broward County is partnering with fourteen cities throughout the county, including the City of Dania Beach, to implement the “Go SOLAR” program by developing a streamlined online permitting process for rooftop photovoltaic solar systems on qualifying residential and commercial structures, identifying and removing restrictive zoning barriers, exploring ways to improve financing options and educating the community about the economic and environmental benefits of solar power; and

WHEREAS, Community Development Department staff has identified a need to amend the Code to authorize and provide regulations for rooftop photovoltaic solar systems, in order to implement the streamlined permitting process of the “Go SOLAR” program and enable the City’s participation in the program; and

WHEREAS, the Planning and Zoning Board, sitting as the City’s Local Planning Agency, has reviewed this Ordinance, and has determined that it is consistent with the City’s Comprehensive Plan; and

WHEREAS, pursuant to Section 166.041(3)(a), Florida Statutes, notice has been given by publication in a paper of general circulation in the City, notifying the public of this proposed Ordinance and of the time and date of the public hearing; and

WHEREAS, a public hearing was held before the City Commission pursuant to the published notice described above; and

WHEREAS, the City Commission finds that adoption of this Ordinance through its police powers will protect the public health, safety, and welfare of the residents of the City, and furthers the purpose, goals, objectives, and policies of the City’s Comprehensive Plan;

NOW THEREFORE, BE IT ORDAINED BY THE CITY COMMISSION OF THE CITY OF DANIA BEACH, FLORIDA:

Section 1.	That the preceding “Whereas” clauses are ratified and incorporated as a record of the legislative intent of this Ordinance.

Section 2.	That Article 220 “Supplemental Building and Structure Height Regulations (Including Lowest Finished Floor); Rooftop Regulations” of the City of Dania Beach Land Development Code is amended to read as follows:

ARTICLE 220 “SUPPLEMENTAL BUILDING AND STRUCTURE HEIGHT REGULATIONS (INCLUDING LOWEST FINISHED FLOOR); ROOFTOP REGULATIONS

* * *

Sec. 220-65. Rooftop Photovoltaic Solar Systems; Go SOLAR- Broward Rooftop Solar Challenge Permitting Process.

(1) Intent.  The provisions contained in this Section are intended to promote the health, safety, and general welfare of the citizens of the City by removing barriers to the installation of alternative energy systems and to encourage the installation of rooftop photovoltaic solar systems pursuant to the U.S. Department of Energy Rooftop Solar Challenge Agreement Number DE-EE0005701 (“Go SOLAR- Broward Rooftop Solar Challenge”) on qualifying buildings and structures.  The provisions and exceptions contained in this Section are limited to rooftop photovoltaic solar systems permitted through web-based applications for pre-approved rooftop photovoltaic solar system installations that utilize the “Go SOLAR” Broward Rooftop Solar Challenge permitting process.

(2) Definitions.  For purposes of this section, the following terms shall have the meaning prescribed in this Section:

(a)	Roof Line: The top edge of the roof which forms the top line of the building silhouette or, for flat roofs with or without a parapet, the top of the roof.

(b)	Rooftop photovoltaic solar system:  A system which uses one (1) or more photovoltaic panels installed on the surface of a roof, parallel to a sloped roof or surface- or rack-mounted on a flat roof, to convert sunlight into electricity.

(3) Permitted accessory equipment. Rooftop photovoltaic solar systems shall be deemed permitted accessory equipment to residential and commercial conforming and nonconforming buildings and structures in all zoning categories.  Nothing contained in this Chapter, including design standards or guidelines included or referenced in this Section, shall be deemed to prohibit the installation of rooftop photovoltaic solar systems as accessory equipment to conforming and nonconforming buildings, including buildings containing nonconforming uses, when such systems are installed pursuant to the Go SOLAR-Broward Rooftop Solar Challenge permitting process.

(4) Height.  In order to be deemed permitted accessory equipment, the height of rooftop photovoltaic solar systems shall not exceed the height of the roof line, as defined herein. For flat roofs with or without a parapet, in order to be deemed accessory equipment, the height of the rooftop photovoltaic solar system shall not be greater than five (5) feet above the roof.

(5) Permits.  Prior to the issuance of a permit, the property owner(s) must acknowledge, as part of the permit application, that:

(a) if the property is located in a homeowners’ association, condominium association, or otherwise subject to restrictive covenants, the property may be subject to additional regulations or requirements despite the issuance of a permit by the City;  and

(b) the issuing of a permit for a rooftop photovoltaic solar system does not create in the property owner(s), its, his, her, or their successors and assigns in title, or create in the property itself a right to remain free of shadows or obstructions to solar energy caused by development adjoining on other property or the growth of any trees or vegetation on other property or the right to prohibit the development on or growth of any trees or vegetation on another property.

(6) Tree Maintenance and removal.  To the extent that the City has discretion regarding the removal or relocation of trees, solar access shall be a factor taken into consideration in determining whether and where trees may be removed or relocated.

(7) Maintenance.  All rooftop photovoltaic solar systems shall be properly maintained and be kept free from hazards, including but not limited to, faulty wiring, loose fastenings, being in an unsafe condition or detrimental to public health, safety, or general welfare.

# *   *   *

Section 3.	All ordinances of the City of Dania Beach in conflict with any provisions of this Ordinance are repealed to the extent of such conflict.

Section 4.	That if any section, clause, sentence or phrase of this Ordinance is for any reason held invalid or unconstitutional by a court of competent jurisdiction, the holding shall not affect the validity of the remaining portions of this Ordinance.

Section 5.	That the provisions of this Ordinance shall become and be made a part of the Code of Ordinances of the City of Dania Beach, Florida, that the sections of the Ordinance may be renumbered or relettered to accomplish such intentions, and that the word “Ordinance” shall be changed to “Section,” “Article” or other appropriate word.

Section 6.	That this Ordinance shall take effect immediately at the time of its passage and adoption.

PASSED on first reading on _______________, 2012.

PASSED AND ADOPTED on second reading on ___________________, 2012.

- ATTEST:

LOUISE STILSON, CMC					PATRICIA A. FLURY

CITY CLERK							MAYOR

- APPROVED AS TO FORM AND CORRECTNESS:

- THOMAS J. ANSBRO

CITY ATTORNEY