RESOLUTION NO. 2012-082

A RESOLUTION OF THE CITY COMMISSION OF THE CITY OF DANIA BEACH, FLORIDA, APPROVING THE SITE PLAN REQUEST SUBMITTED BY JODY OBERHOLTZER, MANAGING MEMBER OF GREEN OAKS LLC, FOR PROPERTY LOCATED AT 2960 SW 23  TERRACE IN THE CITY OF DANIA BEACH, FLORIDA; PROVIDING FOR CONFLICTS; FURTHER, PROVIDING FOR AN EFFECTIVE DATE.

WHEREAS, Section 635-20 of Article 635 of Chapter 28 of the Code of Ordinances of the City of Dania Beach, Florida, states that a site plan is required as a condition to the issuance of a building permit; and

WHEREAS,  Jody Oberholtzer, Managing Member of Green Oaks, LLC, is requesting site plan approval (SP-18-12) for the proposed construction of a 33,055 square foot warehouse/office project to be located at 2960 SW 23rd Terrace, in the City of Dania Beach;

NOW, THEREFORE, BE IT RESOLVED BY THE CITY COMMISSION OF THE CITY OF DANIA BEACH, FLORIDA:

Section 1.	That that certain application (SP-18-12) for site plan approval is approved with the following conditions:

1.	Provide a sliding gate and knox box at the south east corner of property on site plan 		approximately 19 feet to the south from property line, per agreement with neighboring 		property owner prior to issuance of a building permit (Planning Division).

2.	Applicant indicates that preferential on-site parking for vehicles used for ride-sharing 		and electric vehicles will be provided as part of its participation in the City’s mobility 		program.  Identify on the site plan the location of the preferential parking (Planning 		Division).

3.	Applicant must pay $17,878.00 for Tree Mitigation fees prior to issuance of a 			building permit (Landscape Consultant).

4.	Provide an irrigation plan per Section 275-80(m) (Landscape Consultant).

5.	Need fire flow requirement for building (Fire Marshal).

6.	Approved water supply – hydrant flow test (Fire Marshal).

7.	Complete the application for approval for the fire protection water supply design (Fire 		Marshal).

8.	Provide copy of pre- and post-development storm water management and drainage 		calculations (Engineering).

9.	Provide conceptual water and sanitary sewer system plan indicating size and material 		based on BCWWS Standards.  Show building service connections (Engineering).

It is further noted that the original site plan is maintained in the office of the Community Development Department of the City of Dania Beach.

Section 2.	That based upon the criteria set forth in Section 635-100 of Article 635 of Chapter 28 of the Code of Ordinances of the City of Dania Beach, all site plan approvals shall automatically expire and become null and void unless building permits are obtained on or before twelve (12) months from the date of this Resolution.

Section 3.	That all resolutions or parts of resolutions in conflict with this Resolution are repealed to the extent of such conflict.

Section 4.	That this Resolution shall be in force and take effect immediately upon its passage and adoption.

PASSED AND ADOPTED on _______, 2012.

ATTEST:

- LOUISE STILSON, CMC					PATRICIA A. FLURY

- CITY CLERK							MAYOR

- APPROVED AS TO FORM AND CORRECTNESS:

- THOMAS J. ANSBRO

- CITY ATTORNEY