RESOLUTION NO. 2012-096

A RESOLUTION OF THE CITY COMMISSION OF THE CITY OF DANIA BEACH, FLORIDA, APPROVING THE SITE PLAN REQUEST (SP-34-11) SUBMITTED BY SCOTT BAKOS WITH THE FIRM BERMELLO AJAMIL & PARTNERS, INC., REPRESENTING THE PROPERTY OWNER, DANIA BEACH DEVELOPMENT GROUP/RILEA GROUP FOR PROPERTY LOCATED APPROXIMATELY 550 FEET EAST OF SE 5TH AVENUE ON THE SOUTH SIDE OF EAST DANIA BEACH BOULEVARD, IN THE CITY OF DANIA BEACH; PROVIDING FOR CONFLICTS; FURTHER, PROVIDING FOR AN EFFECTIVE DATE.

WHEREAS, Chapter 28 – Dania Beach Land Development Code, Part 6 – “Development Review Procedures and Requirements”, Section 635 states that site plan approval is required as a condition to the issuance of a building permit; and

WHEREAS, applicant, Scott Bakos with the firm Bermello Ajamil and Partners, Inc., representing the property owner Dania Beach Development Group/Rilea Group, is requesting site plan approval for the proposed construction of a 181-unit, 12-story residential development and associated parking structure located approximately 550 feet east of SE 5th Avenue on the south side of East Dania Beach Boulevard, in the City of Dania Beach; and

WHEREAS, the Community Development Department recommends that the City Commission accept the structured parking facility proposed in the site plan request (SP-14-12), based upon the standards and principals set forth in Part 5 “Signage and Design Regulations”, Article 530 of Chapter 28 “Land Development Code” of the Code of Ordinances of the City of Dania Beach; and

WHEREAS, the applicant is participating in the Sustainable Building Practices Incentive and the Public Parking Incentive as described in Part 3 “Special Zoning Districts”, Article 305, of Chapter 28 “Land Development Code” to increase the allowable height and density to the maximum allowed in the Gateway-Mixed Use zoning district as identified in Section 303-70;

NOW, THEREFORE, BE IT RESOLVED BY THE CITY COMMISSION OF THE CITY OF DANIA BEACH, FLORIDA:

Section 1.	That that certain application (SP-34-11) for site plan approval, a copy of which is attached and made a part of this Resolution as Exhibit “A” is approved with the following conditions:

- Provide copy of recorded Right-of-Way dedication prior to issuance of a building permit (Planning).

- DEDICATION OF PARK LAND: Per Section 805-110, please identify park acreage required for dedication along with calculations.  If payment in lieu of dedication is proposed, provide a current appraisal of the subject property (Planning).

- Construction of 30 public parking spaces on site, or pay $6,500 per parking space, which equals $195,000, is required to participate in the Public Parking Incentive with qualifies the property for 12 additional units per acre and one (1) additional story.  Payment is required prior to issuance of a building permit (Planning).

- Provide project site and engineering plans clearly detailing all green building measures which are intended to qualify for incentives, per Section 305-50(6)(Planning).

- Must provide payment of $2,300.00 for the variance application (Planning).

- The parking garage has a dead end of approximately 140 feet on all floors.  The maximum dead end and common path of travel permitted is 50 feet in accordance with NFPA 101, 42.8.2.5.  Additionally, a minimum of two (2) means of egress in accordance with the requirements of NFPA 101, 12.2.4.4 is required for the recreational/pool deck at the southern end of the structure (Fire Marshal).

- Provide an additional fire hydrant meeting the requirements of the City of Dania Beach and NFPA 1, 18.3.3 at the southern end of the structure.  The main shall be looped. (Fire Marshal).

- Provide an addition fire department connection 10 – 15 feet from the aforementioned fire hydrant noted in item #7 (Fire Marshal).

- Complete and submit the water supply affidavit which was e-mailed to you by Battalion Chief Brown on June 28th.  (Fire Marshal).

- Provide additional stabilization around the curve at the southern end of the project and around the curve in the area of the dumpster room (Fire Marshal).

- Provide an electronic copy in PDF form of the final approved plans to jfreedman@metric.com (Landscape Consultant).

It is further noted that the original site plan is maintained in the office of the Community Development Department of the City of Dania Beach.

Section 2.	That based upon the criteria set forth in Section 635 of the Dania Beach Land Development Code, all site plan approvals shall automatically expire and become null and void unless the applicant files a complete building permit application with construction drawings for all improvements shown on the site plan within 12 months from the date of this Resolution, obtains a building permit (including payment of all fees) for all such improvements within eighteen (18) months of this Resolution and that the permits remain valid until a certificate of occupancy or its equivalent is issued for the improvements.

Section 3.	That all resolutions or parts of resolutions in conflict with this Resolution are repealed to the extent of such conflict.

Section 4.	That this Resolution shall be in force and take effect immediately upon its passage and adoption.

PASSED AND ADOPTED on August 28, 2012.

# ATTEST:

LOUISE STILSON, CMC					PATRICIA A. FLURY

CITY CLERK							MAYOR

# APPROVED AS TO FORM AND CORRECTNESS:

THOMAS J. ANSBRO

CITY ATTORNEY