RESOLUTION NO. 2013-146

A RESOLUTION OF THE CITY COMMISSION OF THE CITY OF DANIA BEACH, FLORIDA, APPROVING THE SITE PLAN (SP-40-13), VARIANCE (VA-41-13) AND DELEGATION REQUEST (DR-42-13) TO AMEND THE NON-VEHICULAR ACCESS LINE AND CHANGE THE RESTRICTIVE NOTE ON THE PLAT KNOWN AS “GRIFFIN POINTE” SUBMITTED BY JOHN C. HALLIDAY III ON BEHALF OF GRIFFIN POINTE PARTNERS, LLP, FOR PROPERTY LOCATED AT 2301 GRIFFIN ROAD IN THE CITY OF DANIA BEACH, FLORIDA; PROVIDING FOR CONFLICTS; FURTHER, PROVIDING FOR AN EFFECTIVE DATE.

WHEREAS, Chapter 28, Part 6 of the Dania Beach Land Development Code (“LDC”), Article 635, entitled “Development Review Procedures and Requirements”, states that site plan approval is required as a condition to the issuance of a building permit; and

WHEREAS, John C. Halliday III, on behalf of Griffin Pointe Partners, LLP (the “Applicant”) is requesting site plan approval to allow the construction of three (3) buildings totaling approximately 142,138 square feet to be located at 2301 Griffin Road in the City of Dania Beach; and

WHEREAS, Chapter 28, Part 6 of the LDC, Article 625, entitled “Variances”, states that variances may be approved by the City Commission at the time of site plan approval; and

WHEREAS, the Applicant is requesting a variance to allow a building height of five (5) stories/75 feet, where City Code limits building height to three (3) stories/40 feet, per Section 205-10 of the LDC; and

WHEREAS, Chapter 28, Part 6, of the LDC, Article 640, entitled “Plats,” states that a plat may be amended by the City Commission; and

WHEREAS, the Applicant has applied for a delegation request to change the restrictive note on the existing Plat known as the “Griffin Pointe” plat as follows:

DR-57-12 – Plat Note Amendment

Replace Existing Language on Note, in part, from:

This plat is restricted to 90,000 square feet of Office and 37,000 square feet of Commercial use.

To Proposed Language, in part, on Note:

This plat is restricted to 140,000 square feet of Office; 5,000 square feet of Commercial use and 5,000 square feet of Bank use with three drive-through lanes for such Bank; and

WHEREAS, the Applicant has applied for an amendment to the Non-Vehicular Access Line shown on the plat as shown in Exhibit “B”; and

WHEREAS, Broward County requires that the City Commission of the City of Dania Beach concur with this revision prior to a review by the Broward County Commission; and

WHEREAS, the City Commission conducted a duly noticed public hearing in accordance with Article 610 of the LDC;

NOW, THEREFORE, BE IT RESOLVED BY THE CITY COMMISSION OF THE CITY OF DANIA BEACH, FLORIDA:

Section 1.	That those certain applications:

- (SP-40-13) for site plan approval, and

- (VA-41-13) for variance approval, and

- (DR-42-13) delegation request approval, copies of which are attached as composite Exhibit “C”, and are made a part of and incorporated into this Resolution by this reference, are approved with the following conditions:

- SIGNS: provide copy of master sign program for staff approval, per Section 505-200. 2nd time requested (Community Development).

- Project requires FAA/BCAD approval. 2nd time requested (Community Development).

- WILDLIFE PROTECTION: Identify how Article 250 is being implemented. 2nd time requested (Community Development).

- The proposed parking ratio of 1:75 for restaurant indicates a take-out restaurant is proposed.  Please identify ‘take-out restaurant’ on site plan. (Community Development).

- There is a discrepancy between the Fire Protection Water Supply Design application for approval and the signed/sealed Fire Flow Calculations from Killingsworth Engineering Co. with regards to the construction type and the water flow demand for the largest demand.  These need to match (Fire Marshal).

- The hydrant flow test that was submitted is missing the date for the 24 hour recoding of the pressure fluctuations.  Please provide (Fire Marshal).

- PROVIDE DETAILS FOR PROPERTY ADDRESS TO INCLUDE SIZE, LOCATION AND INDICATE THAT THE COLORS OF THE NUMBERING SHALL CONTRAST WITH BACKGROUND. Second time requested (Fire Marshal).

- KNOX BOX, KNOX KEY SWITCHES, IKNOX PAD LOCKS Access boxes for access to the structure, Key switches for electronic locking mechanisms or padlocks or both, for manual gates are required. Contact the B.S.O. Fire Marshal's Office (Dania Beach District) to obtain an application. 954-342-4262. THESE ARE REQUIRED FOR THE BUILDINGS. Second time requested (Fire Marshal).

- "NO PARKING" SIGNAGE IS REQUIRED IN ADDITION TO THE PAINTED CURBS FOR FlRE LANES, FlRE DEPARTMENT ACCESS ROADS AND IN FRONT OF FlRE DEPARTMENT CONNECTIONS IN ACCORDANCE WITH THE REQUIREMENTS BELOW. Second time requested.

a. 	All pavement markings shall be of thermoplastic paint.

b. 	Demonstrate that these areas are to be marked with freestanding signs with

the wording, "NO PARKING FlRE LANE BY ORDER OF THE FlRE

DEPARTMENT", or similar wording.

c. 	Such signs shall be 12 inches by 18 inches with a white background and

red letters.

d. 	These signs shall be a maximum of seven feet in height from the roadway

to the bottom of the sign.

e. 	These signs shall be within sight of the traffic flow and be a maximum of

60 feet apart [ I : I 8.2.3.51 (Fire Marshal).

- ADDITIONAL "NO PARKING" AREAS ARE REQUIRED AS DETERMINED BY THE FlRE MARSHAL'S OFFICE (Fire Marshal).

- PROVIDE A COPY OF THE COMPLETE SET OF APPROVED PLANS IN PDF FORMAT ON CD-ROM DISC (Fire Marshal).

- DEMONSTRATE FlRE DEPARTMENT ACCESS ROUTES DURING THE CONSTRUCTION PHASE (At Permit) (Fire Marshal).

- DEVELOP A FlRE SAFETY AND PREVENTION PROGRAM IN ACCORDANCE WlTH REQUIREMENTS OF NFPA 241 (2004 ED.), CHAPTER 7 FOR THE CONSTRUCTION SITE DURING THE CONSTRUCTION PHASE (At Permit) (Fire Marshal).

Section 2.	That based upon the criteria set forth in Section 635 of the Dania Beach Land Development Code, all site plan approvals shall automatically expire and become null and void unless the applicant files a complete building permit application with construction drawings for all improvements shown on the site plan, within eighteen (18) months from the date of this Resolution.

Section 3.	That the City of Dania Beach approves the proposed revision which amends the current non-vehicular access line and changes the restrictive note on the Plat to allow Office, Commercial and Bank use on the “Griffin Pointe” plat, as recorded in Plat Book 178, Page 19-20 of the public records of Broward County.

Section 4.	That all resolutions or parts of resolutions in conflict with this Resolution are repealed to the extent of such conflict.

Section 5.	That this Resolution shall be in force and take effect immediately upon its passage and adoption.

PASSED AND ADOPTED _______________, 2013.

ATTEST:

LOUISE STILSON, CMC					WALTER B. DUKE, III

CITY CLERK							MAYOR

APPROVED AS TO FORM AND CORRECTNESS:

THOMAS J. ANSBRO

CITY ATTORNEY