RESOLUTION NO. 2014-021

A RESOLUTION OF THE CITY COMMISSION OF THE CITY OF DANIA BEACH, FLORIDA, APPROVING THE SITE PLAN (SP-69-13) SUBMITTED BY LAWRENCE KRAMER ON BEHALF OF VILLAGE AT DANIA BEACH, LLC., FOR PROPERTY LOCATED AT 180 EAST DANIA BEACH BOULEVARD IN THE CITY OF DANIA BEACH, FLORIDA; PROVIDING FOR CONFLICTS; FURTHER, PROVIDING FOR AN EFFECTIVE DATE.

WHEREAS, Chapter 28, Part 6 of the Dania Beach Land Development Code (“LDC”), Article 635, entitled “Development Review Procedures and Requirements”, states that site plan approval is required as a condition to the issuance of a building permit; and

WHEREAS, Lawrence Kramer, on behalf of Village at Dania Beach, LLC (the “Applicant”)  is requesting site plan approval to allow the construction of a mixed use, seven-story building totaling approximately 83,875 square feet to be located at 180 East Dania Beach Boulevard in the City of Dania Beach; and

WHEREAS, Chapter 28, Part 3, of the LDC, Article 301, entitled “Legal and Administrative Provisions,” states, in Section 301-50, that the City Commission is authorized to approve design variations within certain districts, that are consistent with the intent of this section in lieu of the variance process identified provided for in Article 625; and

WHEREAS, the Applicant has requested design variations for the following items related to the subject site plan, as permitted by Section 301-50:

- DUMPSTER:  Per Section 307-30(B), dumpster and enclosure shall not be located within 20’ of any street line or BTL.  Revise accordingly.  Per Section 307-30(C), dumpster and enclosure shall be screened from view at street frontage by wall and planter at street, and the City may require additional screening if necessary to obscure from street view;

- MAXIMUM NUMBER OF STORIES:  Per Section 303-60(O), the maximum building stories and height permitted with incentives is 6-stories/70 feet; 7-stories/70 feet is requested;

- BUILDING FRONTAGE:  Per Section 303-60(L), the percent of lot width for which the façade must be on the build-to-line is 70 %; 58% is being provided; and

- UPPER STORY RECESS: The minimum upper story recess of 20’ required per Section 303-60(N) is not being met; and

WHEREAS, the City Commission conducted a duly noticed public hearing in accordance with Article 610 of the LDC; and

WHEREAS, the Applicant, in a letter to the City dated March 5, 2014 (attached as Exhibit “B”, made a part of and incorporated into this Resolution by this reference), has voluntarily agreed to submit construction documents to the City’s Building Department for building permits within sixty (60) days following the approval of this Resolution, and has agreed and proffered that upon receipt of building permits, the Applicant will commence construction of the development subject to this Resolution within forty-five (45) days; and

WHEREAS, the Applicant willingly proffers, understands and agrees that the development orders approved by this Resolution shall expire unless the Applicant has applied for building permits within sixty (60) days after approval of this Resolution, and construction of the development subject to this approval is commenced no later than 45 days after issuance of such building permits.

NOW, THEREFORE, BE IT RESOLVED BY THE CITY COMMISSION OF THE CITY OF DANIA BEACH, FLORIDA:

Section 1.	That the certain application (SP-69-13) for site plan approval, a copy of which is attached as composite Exhibit “A”, and made a part of and incorporated into this Resolution by this reference, is found to be in compliance with Article 635 of the Code, and is approved with the following conditions (references to Sections are those in the LDC, unless otherwise specified):

      - DEDICATION OF PARK LAND: Section 805-110(E)(3) limits the required park land dedication to 20% of the total property (83,875 s.f. X 20% = 16,775 s.f dedication required).  Section 805-110(E)(4) allows credits for private open space or private recreation spaces above the 6% (83,875 s.f. X 6% = 5,032.5 s.f.) minimum public park land dedication. Applicant stated in written response dated 3/3/14 that they would like to count outdoor pool, recreation, gymnasium, and open landscaped areas.  Applicant shall, prior to issuance of a building permit, provide precise dimensions of all private recreation space on site plan and a recorded declaration of restrictive covenant pursuant to Sec. 805-100(F)(3), in a form approved by the city attorney, which shall run with the land in favor of the future owners of property within the tract and which cannot be released or amended without the consent of the city commission after a public hearing.   Based on the appraisal dated March 6, 2014, the appraised value of the property is $1,600,000.00; therefore the required payment in lieu of dedication is $96,000 (6% X 1,600,000 = $96,000), provided that the applicant has made a satisfactory demonstration of eligibility for credits for private open space or private recreation spaces.  Prior to issuance of a building permit, Sec. 805-110 (E) must be satisfied by payment of a fee in lieu of land dedication in the amount of $96,000.   (Planning Division).    [NOTE –Sec. 805-110 (F)(5) requires that “the facilities proposed for the park, open space and recreational use are in substantial accordance with the recreational needs of the future residents of the plat as determined by the city commission, the recommendation of the planning and zoning board and the appropriate city departments.  IN ORDER TO RECEIVE CREDIT FOR PRIVATE RECREATION AND OPEN SPACE ON THE SITE, THE APPLICANT MUST PROVIDE A SPECIFIC DESCRIPTION OF THE RESERVED PRIVATE RECREATION SPACE AREAS FOR CITY COMMISSION CONSIDERATION AT HEARING]

- SIGNS: Prior to issuance of a building permit for any sign, the Applicant shall provide a master sign program for staff approval, per Section 505-200.  Applicant must provide a table showing “proposed and allowable total sign area”, as required by Section 505-200(B)(2).  Signage material must also be identified, per Section 505-200(B)(3).  Applicant must identify the signage information as “Master Signage Plan” as all future signage will have to comply (Planning Division).

- Provide a roll-up door for access to the dumpster from SE Park Street to provide maximum screening as possible (Planning Division).

- Applicant must enter into and comply with all terms of the declaration of restrictive covenants for attainable housing in accordance with Sec. 305-40(F) of the Code, guaranteeing that 55 dwelling units shall be maintained as workforce income housing for a period of at least thirty (30) years.  Applicant shall provide proof of recordation of the declaration of restrictive covenants in the public records prior to issuance of a building permit (Planning Division).

- Applicant shall provide cost recovery funds to reimburse and pay outside legal counsel prior to issuance of the building permits, pursuant to Sec. 685-10 of the Code (Planning Division).

- Please provide an electronic copy of the final, approve plans in PDF form to Claudia Alzate at Claudi.alzate@metriceng.com (Landscape Consultant).

- The Hydrant Flow Test Data was incomplete. The twenty-four hour recorded data was provided and received but the following information was missing and is required prior to issuance of building permits:

- A Flow Graph (Graph is provided – see attached).

B. 	A Satellite Picture identifying the hydrant locations in relation to the site (ID Static/Residual Hydrant and Flow Hydrant(s)).

C.  	A Fire Flow Data Sheet on Company Letterhead Indicating all the following:

1. Project Name

2. Project Address

3. Date of Flow Test

4. Time of Flow Test

5. Static Pressure

6. Residual Pressure

7. Flow Hydrant 1 (Pitot and GPM)

8. Flow Hydrant 2 (Pitot and GPM)

9. Name & Signature of Person Performing the Flow Test

10. Name of Fire Inspector Witnessing the Test

8.	The Application for Approval of the Fire Protection Water Supply Design identified an incorrect job site location (180 E. Atlantic Blvd.) and is missing the water purveyor information. Please make necessary corrections and complete the form prior to issuance of building permits (Fire Marshal).

9.	Confirm with Public Services that the new 6” water main crossing East Dania Beach Blvd. and feeding the new hydrant is adequate in size. Typically new installations are required to be 8” and may need to be connected to the 12” water main in lieu of the 6” existing mail (Fire Marshal).

10.	Sheets SP-1 and LSP-1 do not match the Civil Plans and correctly reflect the correct location of the re-located hydrant at the SE corner of the structure (on the east side of the structure).  Revise plans prior to issuance of building permits (Fire Marshal).

- PROVIDE THE FlRE DEPARTMENT WITH A COPY OF THE COMPLETE SET OF APPROVED PLANS IN PDF FORMAT FOR PRE-FIRE PLANNING PURPOSES. THIS CAN BE ACCOMPLISHED BY SENDING THEM THROUGH EMAIL TO kennethsean brown@sheriff.org OR BY DELIVERING THE FILES ON CD-ROM TO THE FIRE PREVENTION OFFICE LOCATED AT 103 East Dania Beach Blvd. in the City (Fire Marshal).

- Applicant, Village at Dania Beach, LLC, in a letter to the City dated March 12, 2014 (attached as Exhibit “B”) has voluntarily agreed to submit construction documents to the City’s Building Department for building permits for the development approved in this Resolution within sixty (60) days following the approval of this Resolution. Upon receipt of the building permits, Applicant, Village at Dania Beach, LLC shall commence construction of the development approved in this Resolution within forty-five (45) days.  Applicant, Village at Dania Beach, LLC willingly proffers and agrees that the development orders approved by this Resolution shall expire unless the Applicant applies for building permits within sixty (60) days following the approval of this Resolution, and construction of the development approved in this Resolution is commenced no later than 45 days after issuance of the building permits.

13.	All applicable state and federal permits must be obtained before commencement of the development. Issuance of a development permit by a municipality does not in any way create any right on the part of an applicant to obtain a permit from a state or federal agency and does not create any liability on the part of the municipality for issuance of the permit if the applicant fails to obtain requisite approvals or fulfill the obligations imposed by a state or federal agency or undertakes actions that result in a violation of state or federal law.

Section 2.	That all resolutions or parts of resolutions in conflict with this Resolution are repealed to the extent of such conflict.

Section 3.	That this Resolution shall be in force and take effect immediately upon its passage and adoption.

PASSED AND ADOPTED _______________, 2014.

ATTEST:

LOUISE STILSON, CMC					WALTER B. DUKE, III

CITY CLERK							MAYOR

APPROVED AS TO FORM AND CORRECTNESS:

THOMAS J. ANSBRO

CITY ATTORNEY