Date:               November 7, 2014

To:	Mayor Salvino, Vice-Mayor Grace, Commissioner Brandimarte, Commissioner Duke, and Commissioner Jones

From:	            Robert Baldwin, City Manager

Through:        Mark Felicetty, Parks and Recreation Manager

By:		Antoine Pollard, Administrative Coordinator

Subject:	“Christmas Tree Sale”

Event Date(s):  November 24th, 2014 – December 24th, 2014 ________________________________________________________________________

A special event is requested by the Hart-T-Tree Farms to have a “Christmas Tree Sale” event. This event will be located at 922 S. Federal Hwy. on November 24th, 2014 – December 24th, 2014 daily from 9:00 a.m. – 9:00 p.m.

Recommendation: Approval with the compliance of the conditions noted below.

| Staff | Comments/Conditions |  |
| --- | --- | --- |
| Robert Nance/ BSO Fire Dept. | Insurance Rider naming BSO/Fire, fire extinguisher, tent/canopy permit, generator permits may be required, power cords sufficiently protected, Post no smoking signs on all four sides if the tent(s), all tent stakes shall be painted bright orange, and Post exit signs at each tent. |  |
| Dominic Orlando/P.S. | No issues |  |
| Mark LaFerrier/Community Dev. | No Issues |  |
| Jack Fisher/Community Dev. | Building Permits are required for this event. Electric, Plumbing for the Port-A-Potties and Structural for the tent. |  |
| Tom Ansbro/City Attorney | No Issues |  |
| Jackie Beauzil/HR/Risk Mgmt | No Issues |  |
| Mark Felicetty/Parks & Recreation | No Issues |  |
| Eric Walton/Code Enforcement | No issues |  |
| Lt. Manfre /BSO Police Dept. | Site Plan needs clarity. |  |