Date:               December 2, 2014

To:	Marco A. Salvino, Sr., Mayor

Bobbie H. Grace, Vice Mayor

Chickie Brandimarte, Commissioner

Walter B. Duke, III, Commissioner

Albert C. Jones, Commissioner

From:	            Robert Baldwin, City Manager

Through:        Mark Felicetty, Parks and Recreation Director

By:		Antoine Pollard, Administrative Coordinator

Subject:	“Return Center New Year’s”

Event Date(s): January 1st -3rd, 2015     ________________________________________________________________________

A special event is requested by TNT Fireworks to have a “Return Center New Year’s” event. This event will be held at TNT Fireworks located at 768 E. Dania Beach Blvd. on January 1st -3rd, 2015 from 9:00 a.m. to 5:00 p.m. daily. This will be an event to settle accounts with customers after the New Year’s Season.

Recommendation: Approval with the compliance of the conditions noted below.

| Staff | Comments/Conditions |  |
| --- | --- | --- |
| Robert Nance/ BSO Fire Dept. | Insurance Rider, Fire Extinguishers, Tent/Canopy Permits, Tent/Canopy Egress Plan, No Smoking Signs Posted Inside/Outside on all four sides of the tent, Provided a minimum of 2 A 40BC Portable Fire Extinguisher clearly to identify the location on the plans. Clear and indentify all exits, Fire Inspection required. |  |
| Dominic Orlando/P.S. | No issues |  |
| Mark LaFerrier/Community Dev. | No Issues |  |
| Jack Fisher/Community Dev. | Tent Permit required. |  |
| Tom Ansbro/City Attorney | No Issues |  |
| Jackie Beauzil/HR/Risk Mgmt | No Issues |  |
| Mark Felicetty/Parks & Recreation | No Issues |  |
| Eric Walton/Code Enforcement | No Issues |  |
| Lt. Manfre /BSO Police Dept. | No Issues |  |