Date:               December 9, 2014

To:	Marco A. Salvino, Sr., Mayor

Bobbie H. Grace, Vice-Mayor

Chickie Brandimarte, Commissioner

Walter B. Duke, III, Commissioner

Albert C. Jones, Commissioner

From:	            Robert Baldwin, City Manager

Through:        Mark Felicetty, Parks and Recreation Director

By:		Antoine Pollard, Administrative Coordinator

Subject:	“Rail Fun Day”

Event Date(s):  January 24th, 2015     ________________________________________________________________________

A special event is requested by the South Florida Regional Transportation Authority to have their annual “Rail Fun Day” on January 24th, 2015 from 11am-3pm. The requested event will be held at the Tri Rail Station located at 500 Gulf Stream Way. This will be a free community event.

Recommendation: Approval with the compliance of the conditions noted below.

| Staff | Comments/Conditions |  |
| --- | --- | --- |
| Robert Nance/ BSO Fire Dept. | Insurance rider, fire extinguishers, tent permits egress plan required, generator permits, gas grills permits, LP gas containers must be approved(No Smoking signs must be posted), Fire Department Access, Stage Permit, trailer/vehicle used for food preparation must have UL-300 compliant automatic fire suppression system. Grease fryers are not permitted, Food trucks must be equipped with current certified and tagged automatic fire suppression systems and must pass fire inspection prior to use. A minimum 20 ft. wide fire line shall be provided throughout the site. Relocate booths 1 through 29 to provide this fire lane. Inspection required. Standby detail required. |  |
| Dominic Orlando/P.S. | No issues. |  |
| Corinne Lajoie/Community Dev. | No objection. |  |
| Jack Fisher/Community Dev. | Building Permits are required for Port-A Potties, Generators/Electric, Stage, gas and Tents. |  |
| Tom Ansbro/City Attorney | No Issues. |  |
| Jackie Beauzil/HR/Risk Mgmt | COI’s to include GL, Auto and WC for all vendors contracted by CRA/City. COI’s for GL, Auto & WC or Hold Harmless for vendors participating. |  |
| Mark Felicetty/Parks & Recreation | No Issues. |  |
| Eric Walton/Code Enforcement | No comments. |  |
| Lt. Manfre /BSO Police Dept. | BSO will require six (6) detail deputies for security and traffic control at this event. |  |