Date:               December 2, 2014

To:	Honorable Mayor, Vice-Mayor and City Commission

From:	            Robert Baldwin, City Manager

Through:        Mark Felicetty, Parks and Recreation Director

By:		Antoine Pollard, Administrative Coordinator

Subject:	“Dania Beach 2015 Arts & Seafood Celebration”

Event Date(s):  March 21 & 22, 2015    ________________________________________________________________________

A special event is requested by Dania Beach Community Redevelopment Agency to have the annual “Dania Beach 2015 Arts & Seafood Celebration” at Frost Park on March 21st&22nd, 2015 from 10am-7pm. This will be an arts and seafood event featuring local restaurants, vendors, fine artist, crafters, sponsor booth, entertainers, kid’s activities, and games.

Please Note: Fire Detail will be one of the three city events that BSO provides the city as part of our contracted services with BSO, therefore there will be no cost to the CRA.

The applicant is requesting the following:

- Road closure for Fronton Blvd. from N.E. 2nd Street to N.E. 1st Street.

- BSO Police (detail paid by CRA) and BSO Fire Services (no cost per contract).

- Special Event Permit fee waiver.

Recommendation: Approval with the compliance of the conditions noted below.

| Staff | Comments/Conditions |  |
| --- | --- | --- |
| Robert Nance/ BSO Fire Dept. | Insurance Rider, Fire Extinguisher, Tent Permit and Egress Plan, Generator Permit, Power cords sufficiently protected from water and shall not create a trip hazard for patrons/event workers. Gas grills must be permitted and pass a fire inspection and drop test. LP Gas Containers must be secured in an approved method and cordoned off from patron access in an approved method and must be a minimum of 10 feet from any heat source or open flame. No Smoking signs shall be posted at all LP Gas container locations. Fire Department Access required. Stage plans &permit required. Any trailer/vehicle use in preparation of food that created grease laden vapors must have a UL- 300 compliant automatic fire suppression system and must be tagged and currently certified by FL license, automatic fire suppression contractor. Grease fryers are not permitted indoors and must have a Class K fire extinguisher. Food trucks must be equipped with a currently certified and tagged with an Automatic Fire Suppression System. Pre-event Inspection and standby detail required. |  |
| Dominic Orlando/P.S. | No issues. Send work orders if needed. |  |
| Corinne Lajoie/Community Dev. | No objection. |  |
| Jack Fisher/Community Dev. | Building Permits are required for Port-A Potties, Generators/Electric, Stage, gas and Tents. |  |
| Tom Ansbro/City Attorney | We are responding on a variety of matters. |  |
| Jackie Beauzil/HR/Risk Mgmt | COIs to include GL, Auto and WC for all vendors contracted by CRA/City. COIs for GL, Auto & WC or Hold Harmless for vendors participating. |  |
| Mark Felicetty/Parks & Recreation | No Issues. |  |
| Eric Walton/Code Enforcement | No comments. |  |
| Lt. Manfre /BSO Police Dept. | BSO will require six (6) detail deputies for security and traffic control at this event. |  |