RESOLUTION NO. 2015-____

A RESOLUTION OF THE CITY COMMISSION OF THE CITY OF DANIA BEACH, FLORIDA, APPROVING THE SITE PLAN (SP-08-13) SUBMITTED BY MICHAEL VONDER MEULEN OF KEITH AND ASSOCIATES, INC., REPRESENTING THE PROPERTY OWNER, BROWARD COUNTY BOARD OF COUNTY COMMISSIONERS, FOR PROPERTY LOCATED AT 4980 SW 40 AVENUE, IN THE CITY OF DANIA BEACH; PROVIDING FOR CONFLICTS; FURTHER, PROVIDING FOR AN EFFECTIVE DATE.

WHEREAS, Chapter 28 of the Code of Ordinances of the City of Dania Beach, which chapter contains the City Land Development Code, pursuant to Part 6, “Development Review Procedures and Requirements”, Section 635, states that site plan approval is required as a condition of the issuance of a building permit; and

WHEREAS, the applicant, Michael Vonder Meulen of Keith and Associates, Inc., representing the property owner, Broward County Board of County Commissioners, is requesting site plan modification approval for the proposed construction of water treatment plant expansion to be located at 4980 SW 40 Avenue, in the City of Dania Beach; and

WHEREAS, the City’s Development Review Committee (DRC), which is composed of staff, reviewed the site plan for compliance with all applicable regulations and recommends approval subject to certain conditions specified below;

NOW, THEREFORE, BE IT RESOLVED BY THE CITY COMMISSION OF THE CITY OF DANIA BEACH, FLORIDA:

Section 1.	That that certain application (SP-08-13) for site plan approval is approved with the following conditions:

- Provide approval letter or easement from the South Florida Water Management District allowing the use of its land and waterway prior to public hearing or revise site plan accordingly. Provide prior to issuance of a building permit.

- Must obtain FAA approval prior to issuance of a building permit.

- Provide a Hydrant (water) Flow Test to determine the available water supply to this project.  The Hydrant Flow Test must be in accordance with the Broward County Amendments (effective January 12, 2012) to the Florida Fire Prevention Code (2010 Ed.), Section F-112.  This test must be performed by a qualified company of the builder’s choice.  In addition, the static pressure at the water main shall be determined by a recorded method (i.e. water wheel) for a minimum twenty-four (24) hour period.  The actual flow test must be witnessed by and recorded data sent to the Broward Sheriff’s Office Fire Marshal’s Bureau, Dania Beach District in any area where water is being supplied by the City of Dania Beach Public Services.

It is further noted that the original site plan is maintained in the office of the Community Development Department of the City of Dania Beach.

Section 2.	That such application must be reviewed by Broward County Aviation Department.  The point of contact is William Castillo, Airport Planner located at 220 S.W. 45 Street, Suite 101, Dania Beach, Florida, 33312, (954) 359-6100.

Section 3.	Issuance of a development permit by a municipality does not in any way create any right on the part of an applicant to obtain a permit from a state or federal agency and does not create any liability on the part of the municipality for issuance of the permit if the applicant fails to obtain requisite approvals or fulfill the obligations imposed by a state or federal agency or undertakes actions that result in a violation of state or federal law.

Section 4.	That all resolutions or parts of resolutions in conflict with this Resolution are repealed to the extent of such conflict.

Section 5.	That this Resolution shall be in force and take effect immediately upon its passage and adoption and remain valid for eighteen (18) months, per Section 635 of the Dania Beach Land Development Code.

PASSED AND ADOPTED on January_______, 2015.

ATTEST:

# LOUISE STILSON, CMC					MARCO A. SALVINO, SR.

# CITY CLERK							MAYOR

# APPROVED AS TO FORM AND CORRECTNESS:

# THOMAS J. ANSBRO

CITY ATTORNEY