Date:               January 30, 2015

To:	Marco A. Salvino, Sr., Mayor

Bobbie Grace H. Grace, Vice Mayor

Chickie Brandimarte, Commissioner

Walter B. Duke, III, Commissioner

Albert C. Jones, Commissioner

From:	            Robert Baldwin, City Manager

Through:        Mark Felicetty, Parks and Recreation Director

By:		Antoine Pollard, Administrative Coordinator

Subject:	“St. Patrick’s Day Celebration”

Event Date(s):  March 17, 2015     ________________________________________________________________________

A Special Event is requested by The Field Irish Pub to have their annual “St. Patrick’s Day Celebration” the requested event will be held at The Field Irish Pub located at  3281 Griffin Road on March 17th, 2015 from 11am-11pm. This will be a celebration of the Irish Heritage with Irish music, dance, food and beverages.

The applicant is requesting the following:

- Road closure on Griffin.

- BSO VMB Board to slow traffic.

Recommendation: Approval with the below conditions being met as noted below prior to the requested event date.

| Staff | Comments/Conditions |  |
| --- | --- | --- |
| Sean Brown/ BSO Fire Dept. | Site plan required, crowd control/management plan, fire extinguisher required, tent/canopy permits required, tent/canopy egress plan required, power cords sufficiently protected from water and shall not create a trip hazard for patrons and or event workers. Gas grills if used in outside kitchen area must be permitted and pass a fire inspection and drop test (performed by license Gas Company) Obtain permits from the City of Dania Beach Building Dept. LP Gas Containers must be secured in an approved method and cordoned off from patron access in an approved method. The LP Gas containers must be a minimum of 10 feet from any heat source or open flame. No Smoking sign shall be posted at all LP Gas Containers locations. Fire Department Access still needs a site plan to determine. Fenced Area conflict still need site plan. Stages to identify the type of construction and Please meet all traffic control per D.L.E requirements. **Per Chief Brown: Please note that Fire cannot approve this event until we have more information. Once we have the information and compliance with all noted items is assured, I do not anticipate any issues with approving the event. ***Per Chief Brown this is now approved with conditions from FIRE. Frank Ross and I met with Mr. Craig, Wednesday, February 25, 2015 and he is aware of what these conditions are. I will provide an update on those conditions by the end of the week to staff. ***The applicant is in contact with Chief Brown to assure he meets all requirements. Applicant also submitted and updated the Site Plan as requested. |  |
| Dominic Orlando/P.S. | No issues. |  |
| Corinne Lajoie/Community Dev. | Applicant to identify location of tents, stage, VMB board, parking as well as Parking Permission Letter. **The applicant has provided information as requested. The applicant must provide the amount of off-site parking spaces. |  |
| Jack Fisher& Julio Briceno/Community Dev. | Building Permits are required for stage, tent, plumbing and electrical. Must apply (2) weeks prior to the event. (2) Copies of the updated. Applicant must note how tents will be anchored event***Applicant submitted an updated Site Plan as requested. |  |
| Tom Ansbro/City Attorney | No comments. |  |
| Jackie Beauzil HR/Risk Mgmt. | Not on City property no comments. |  |
| Mark Felicetty/Parks & Recreation | No issues |  |
| Eric Walton/Code Enforcement | No comments. |  |
| Lt. Manfre /BSO Police Dept. | Approval pending FDOT approval for street closure on Griffin. Total of (3) Detail Deputies required. (2) Deputies to work 11am-12pm Shift (1) Deputy to work 6pm-12pm Shift **However, the applicant requested and secured (7) BSO Detail Deputies. |  |