RESOLUTION NO. 2015-036

A RESOLUTION OF THE CITY COMMISSION OF THE CITY OF DANIA BEACH, FLORIDA, APPROVING THE SITE PLAN (SP-40-13MOD) AND WAIVER SUBMITTED BY JOHN C. HALLIDAY, III, ON BEHALF OF GRIFFIN POINTE PARTNERS, LLP, FOR PROPERTY LOCATED AT 2301 GRIFFIN ROAD IN THE CITY OF DANIA BEACH, FLORIDA; PROVIDING FOR CONFLICTS; FURTHER, PROVIDING FOR AN EFFECTIVE DATE.

WHEREAS, Chapter 28, Part 6 of the Dania Beach Land Development Code (“LDC”), Article 635, entitled “Development Review Procedures and Requirements”, states that site plan approval is required as a condition to the issuance of a building permit; and

WHEREAS, John C. Halliday III, on behalf of Griffin Pointe Partners, LLP (the “Applicant”) is requesting site plan approval to allow the construction of seven (7) buildings totaling approximately 107,110 square feet to be located at 2301 Griffin Road in the City of Dania Beach; and

WHEREAS, Chapter 28, Part 2 of the LDC, Article 215, entitled “Supplemental Regulations for Yards, Lot Coverage, Impervious Area and Open Space”, Section 215-130 states that the City Commission may waive the minimum pervious area requirement provided the City Engineer deems appropriate the design and construction methods proposed by the Applicant to completely mitigate the storm water runoff increase that would occur by granting the waiver; and

WHEREAS, the Applicant has requested to provide twenty percent (20%) pervious area; Code requires twenty-five percent (25%) pervious area, per Section 215-130; and

WHEREAS, the City Commission conducted a duly noticed public hearing in accordance with Article 610 of the LDC;

NOW, THEREFORE, BE IT RESOLVED BY THE CITY COMMISSION OF THE CITY OF DANIA BEACH, FLORIDA:

Section 1.	That the site plan application (SP-40-13MOD) and pervious area waiver are approved consistent with the site plan provided on record with the following conditions:

- The proximity to the airport will require FAA/BCAD review.  Contact William Castillo, Airport Planner with Broward County Aviation Department, located at 2200 SW 45 Street, Suite 101, Dania Beach, FL 33315, (954) 359-6100 (Community Development).

- COST RECOVERY: per Article 685, cost recovery funds may be utilized for various costs of the city’s administrative and outside fee consultants for the processing and review of applications.  Per City Attorney’s request, please provided $1,500 cost recovery fee with next submittal.  The cost recovery money can be returned if not utilized, or additional fees may be requested if additional fees are incurred. 2nd time requested (Community Development).

- Phasing – per section 635-50(AA) identify beginning and ending dates of construction of entire project and beginning and ending dates for all phases of the project (Community Development).

- Proposed ingress/egress on Griffin Road and SW 45th Street – FDOT Index 515 applies.  Show radius of curve.  Revisit proposed width of driveway lanes, minimum is 12 feet.  All proposed driveway aisles are 12’ per lane however exit/entry driveways on Griffin Road are 11 feet wide.  Please review entry driveway width on Griffin Road, I suggest for one single entry width of minimum of 20 feet (lane should be clearly striped to clearly show the movement area) and the two exit lanes be 12 foot each (City Engineering).

- Provide drawing file (dwg or dgn) disk of the approved site plan in Florida State Plane Coordinate (NAD 83). This should be addressed as part of the final submittal (City Engineering).

- The applicant must meet the requirements of Broward County Surface Water Management Licensing Section and related federal and state rules and regulations regarding stormwater runoff to validate the pervious area waiver (City Engineer).

- The applicant’s payment of $29,092.84 must be paid to the City’s Tree Trust fund for partial mitigation for the removal of 116 trees prior to issuance of a building permit.  The remaining mitigation is to be replanted on site, consistent with the site plan (Landscape Consultant).

- Please note that royal palm and buttonwood are category 2 trees, and crape myrtle is a category 3 tree.  These trees are being proposed for terminal islands, please select species that qualify as category 1 trees, as required by Section 275-100(D).  This also applies to the head-to-head parking rows (Landscape Consultant).

- Provide the fire flow demand for each of the 6 buildings (Fire Marshal).

- Provide new fire hydrant flow test as the old test is not expired (Fire Marshal).

- Provide a complete application for approval for the fire protection water supply design (Fire Marshal).

- Will all building be sprinklered? If so, are they interconnected?  It appears that buildings 3 & 6 may be sprinklered – if so, FDC’s are not shown. Please clarify (Fire Marshal).

- Please relocate all hydrants to the building side of the street (Fire Marshal).

- Will there be any gates located on the site? (Fire Marshal).

Section 2.	That such application must be reviewed by Broward County Aviation Department.  The point of contact is William Castillo, Airport Planner located at 220 S.W. 45 Street, Suite 101, Dania Beach, Florida, 33312, (954) 359-6100.

Section 3.	Pursuant to Section 635.100 “Expiration of Site Plans” of the Land Development Code, the Site Plan (SP-04-13Mod), approval shall automatically expire and become null and void unless the Applicant files a complete building permit application with construction drawings for the improvements shown on the Site Plan, within eighteen (18) months from the date of this Resolution.

Section 4.	Issuance of a development permit by a municipality does not in any way create any right on the part of an applicant to obtain a permit from a state or federal agency, and does not create any liability on the part of the municipality for issuance of the permit if the applicant fails to obtain requisite approvals or fulfill the obligations imposed by a state or federal agency or undertakes actions that result in a violation of state or federal law.

Section 5.	That all resolutions or parts of resolutions in conflict with this Resolution are repealed to the extent of such conflict.

Section 6.	That this Resolution shall be in force and take effect immediately upon its passage and adoption.

PASSED AND ADOPTED on April 28, 2015.

ATTEST:

# LOUISE STILSON, CMC					MARCO A. SALVINO, SR

# CITY CLERK							MAYOR

# APPROVED AS TO FORM AND CORRECTNESS:

# THOMAS J. ANSBRO

CITY ATTORNEY