Date:               April 21, 2015

To:	Marco A. Salvino, Sr., Mayor

Bobbie Grace H. Grace, Vice Mayor

Chickie Brandimarte, Commissioner

Walter B. Duke, III, Commissioner

Albert C. Jones, Commissioner

From:	            Robert Baldwin, City Manager

Through:        Mark Felicetty, Parks and Recreation Director

By:		Antoine Pollard, Administrative Coordinator

Subject:	“Good Health, Good Spirit Health Fair”

Event Date(s):  March 21, 2015     ________________________________________________________________________

A special event is requested by the Iglesias De Dios Pentecostal, M.T. to have a “Good Health Good Spirit Health Fair” on May 30, 2015. This event will be located 4516 SW 52 Street from 10:00 a.m. to 2:00 p.m. This will be a free community event with local healthcare agencies providing free health screenings.

Recommendation: Approval with the compliance of the conditions noted below.

| Staff | Comments/Conditions |  |
| --- | --- | --- |
| Sean Brown/ BSO Fire Dept. | Fire extinguishers must be supplied for each tent, canopy, cooking applied and stage. They must be accessible from anywhere in the tent or on the stage without having to travel any further than 75 feet for access. Extinguishers must be easily accessible and not obscured from view. Fire extinguishers must be commercial “ABC Multi-purpose” (minimum 5lbs) fire extinguishers that are currently certified and tagged by a licensed company. Power cords shall be sufficiently protector from water and shall not create a trip hazard for patrons and/or event workers. |  |
| Dominic Orlando/P.S. | No comments |  |
| Corinne Lajoie/Community Dev. | No objections |  |
| Julio Briceno/Community Dev. | No building permits required |  |
| Tom Ansbro/City Attorney | No comments |  |
| Jackie Beauzil HR/Risk Mgmt. | No issues |  |
| Mark Felicetty/Parks & Recreation | No issues |  |
| Eric Walton/Code Enforcement | No issues |  |
| Lt. Manfre /BSO Police Dept. | No issues |  |