P.O. Box 221890

Hollywood, FL  33022-1890

Telephone (954) 925-3492	                                           Frederick Bloetscher, Ph.D., P.E.

Facsimile   (954) 925-2692                                                  e-mail: h2o_man@bellsouth.net

May 25, 2015

Mr. Dominic F. Orlando, P.E.

Public Services Director

100 W. Dania Beach Blvd.

Dania Beach, FL 33004

RE:  	Award Recommendation

Lime Softening Upgrades – Chlorine Bid 15-003

Dear Mr. Orlando,

Per our conversation, this is a summary of the lime softening upgrades – chlorine upgrade bid for Dania Beach.  The chlorine upgrades are overdue per the City’s risk management plan.  The design/build bid has been prepared and the bid was advertised in April.  The mandatory pre-bid was held on May 1, an addendum issued 10 days later, with bids accepted on May 22, 2015. Two bids were received as follows:

| Item | Close Construction | FL Design |
| --- | --- | --- |
| Hypochlorite System | $ 236,493.00 | $ 467,000.00 |
| Contingency | $ 30,000.00 | $ 30,000.00 |
| TOTAL | $ 266,493.00 | $ 497,000.00 |
| Alt 1 Painting Structure, concrete repairs, door replacements | $ 9,000.00 | $ 40,000.00 |
| Alt 2 Roof repair | $ 4,200.00 | $ 5,000.00 |
| Alt 3 Hurricane screen | $ 8,500.00 | $ 5,000.00 |
| Alt 4 Tank materials with UV | $ 2,500.00 | $ 8,000.00 |

Based on the bids received, I recommend awarding the bid to the lowest bidder. Should you have any questions, please let me know.

Sincerely,

Frederick Bloetscher, Ph.D., P.E., President

Certified by:

Frederick Bloetscher, Ph.D., P.E.

License # 42335