RESOLUTION NO. 2015-097

A RESOLUTION OF THE CITY COMMISSION OF THE CITY OF DANIA BEACH, FLORIDA, APPROVING THE SITE PLAN (SP-002-15), VARIANCES (VA-059-15), (VA-060-15), (VA-062-15), (VA-063-15) AND (VA-078-15), AND WAIVERS TO INDUSTRIAL DESIGN STANDARDS SUBMITTED BY JAN H. SMITH A.I.A., AGENT ON BEHALF OF THE PROPERTY OWNER GERDAU AMERISTEEL U.S., INC., FOR PROPERTY LOCATED AT 2025 TIGERTAIL BOULEVARD IN THE CITY OF DANIA BEACH, FLORIDA, AS LEGALLY DESCRIBED IN EXHIBIT “A”, A COPY OF WHICH IS ATTACHED TO THIS RESOLUTION; PROVIDING FOR CONFLICTS; FURTHER, PROVIDING FOR AN EFFECTIVE DATE.

WHEREAS, the City Code of Ordinances, Chapter 28 “Land Development Code (“LDC or the “Code”)  Part 6 “Development Review Procedures and Requirements,” Article  635 “Site Plans,” Section 635-20(A), provides that site plan approval is required as a condition to the issuance of a building permit; and

WHEREAS, Jan H. Smith, A.I.A., on behalf Gerdau Ameristeel U.S., Inc., (the “Applicant”), is requesting site plan approval for the construction of an additional 65,300 square feet of office/industrial uses in the City of Dania Beach, Florida, as legally described in Exhibit “A”; and

WHEREAS, Chapter 28 of the LDC, Part 6, Article 625 “Variances” provides that variance approvals may be granted consistent with the criteria established in Section 625-40; and

WHEREAS, the Applicant is requesting variance approval (VA-059-15) to provide one (1) tree of category one (1) inconsistent with Code, per Section 275.100 (D), which requires two (2) category one (1) trees for the terminal landscape peninsulas; and

WHEREAS, the Applicant is requesting variance approval (VA-060-15) to provide new gravel vehicular areas inconsistent with Code, per Section 265.110 (E), which requires vehicular areas to be of asphaltic cement; and

WHEREAS, the Applicant is requesting variance approval (VA-062-15) to provide a building setback of thirty-five (35) feet inconsistent with Code, per Section 205.10, which requires a forty (40) foot setback; and

WHEREAS, the Applicant is requesting variance approval (VA-063-15) to provide an industrially designed building structure inconsistent with Code, per Section 115.50, which requires the look of the building to be designed similar to an office; and

WHEREAS, the Applicant is requesting variance approval (VA-078-15) to maintain existing gravel areas inconsistent with Code, per Section 265.170 (C), which requires nonconforming parking facilities to be brought into compliance if substantial improvements are made to the site; and

WHEREAS, pursuant to Chapter 28 of the LDC, Part 2, Article 265 “Off Street Parking,” Section 265-60 “Alternate Parking Standards” the City Commission is authorized to approve alternate standards, that are consistent with the site plan approval process provided for in Article 635; and

WHEREAS, the Applicant has requested approval of an alternate parking standard calculation for the proposed development due to the limited amount of required employees for the fabrication task/areas; and

WHEREAS, pursuant to Chapter 28 of the LDC, Part 5 “Signage And Design Regulations,” Article 511 “Industrial Design Standards” the City Commission is authorized to approve exceptions to this article as conditions to a site plan approval subject to certain findings; and

WHEREAS, the Applicant has requested waivers of certain requirements of Article 511

“Industrial Design Standards;” and

WHEREAS, the Applicant requested waivers are from the following appearance standards of LDC Section 511-30: (A) All structures on a site shall create a unified architectural theme; (B) Simple rectangular box structures shall be prohibited, (C) Large, blank, unarticulated walls shall be prohibited, (D) All buildings and building facades shall be articulated through the use of a coherent and clear architectural design that incorporates rhythms in form and construction details, (E) Buildings facing a public street or interior courtyard space shall be architecturally emphasized through entrance treatment, fenestration, and building details. Buildings with more than one facade facing a public street shall provide treatment for each façade, (F) Roof and exterior wall surfaces, with the exception of glass areas shall be non-reflective. Opaque surfaces and reflective or mirrored type glazing at ground level visible from the sidewalk is prohibited, (G) The use of flat steel or metal panels for the exterior walls is prohibited, (H) The rear and sides of buildings shall be finished with material that in texture and color resembles the front of the building, (I) Glass windows and doors must make up at least twenty-five (25) percent of the primary elevation of a corner site and ten (10) percent of the secondary elevation of a corner site. On ground stories, the minimum required glass façade area shall be measured between a height of two and one-half (2.5) feet and eight (8) feet above the abutting grade, (J) The coloration of all buildings shall be nature blending with a maximum of three (3) colors exclusive of roof. The use of "earth tone" or light pastel colors is encouraged. Semi-transparent stains are recommended for application on natural wood finishes (K) Building trim and accent areas may feature contrasting building materials and different colors than the building field color, including use of primary colors, if compatible with the architectural design, (L) Buildings should have clearly defined public and employee entrances incorporating a combination of elements such as: Canopies or porticos, Overhangs, Recesses/projections, Arcades, Raised corniced parapets over the door, Peaked roof forms, Arches, Entrance framed by outdoor pedestrian features or enhanced landscaping, Architectural details such as tile work and moldings integrated into the building structure to frame the entryway, Integral planters or wing walls that incorporate landscaped areas and/or sitting areas, and Enhanced pedestrian surfaces, (M) Work area or storage doors and open bays shall not open toward or otherwise be visible from any of the designated principal roads, and (P) A minimum distance of eight (8) feet shall be maintained between the front of any building, including any walkway immediately adjacent thereto, and the parking area. This space is to be reserved for landscaping, either existing or planned, and is required to have a minimum three (3)-foot wide strip for plant material. No such space is required at the sides or rear of the building unless there is an adjoining residential use; and

WHEREAS,  the Applicant has also requested waivers from the following landscaping, walls and fencing standards of LDC Section 511-40: (B) The use of landscape accents, such as planters and window boxes, shall be  incorporated into the overall landscape design of the building and the site, (C) Where hedges are utilized and adequate space exists, a tiered effect is required. and (E) Chain link, barbed wire and similar fencing along a designated arterial are prohibited. Where such fencing can be viewed from a designated arterial, landscaping, berming, or both shall be provided to minimize visibility from the designated arterial; and

WHEREAS, the City’s Development Review Committee (“DRC”), which is composed of City staff, reviewed the Site Plan for compliance with all applicable regulations; and

WHEREAS, staff recommended approval of the proposed Site Plan (SP-002-15), related waivers to Industrial Design Standards, and  Variances (VA-059-15), (VA-060-15), (VA-062-15), (VA-063-15) AND (VA-078-15); and

WHEREAS, the City Commission conducted a duly noticed public hearing in accordance with law; and

WHEREAS, the City Commission finds there are circumstances peculiar to the site or the intended use that makes compliance with the above referenced industrial design standards and requirements impracticable; and

WHEREAS, the City Commission finds the Applicant has offered significant enhancements to other pertinent aspects of the site that will offset any negative impact that exceptions to these standards might otherwise create; and

WHEREAS, the City Commission finds that the property does not front on a collector or arterial roadway; and

WHEREAS, the City Commission finds that the approval of the proposed Site Plan (SP-002-15), Variances (VA-059-15), (VA-060-15), (VA-062-15), (VA-063-15) AND (VA-078-15), and waivers to the Industrial Design Standards will protect the public health, safety, and welfare of the residents of the City, and furthers the purpose, goals, objectives and policies of the City Comprehensive Plan;

NOW, THEREFORE, BE IT RESOLVED BY THE CITY COMMISSION OF THE CITY OF DANIA BEACH, FLORIDA:

Section 1.	The foregoing “WHEREAS” clauses are ratified and confirmed as being true and correct and they are made a specific part of this Resolution.

Section 2.	Pursuant to Chapter 28 “Land Development Regulations,” Part 6 “Development Review Procedures and Requirements,” Article 635 “Site Plans,” the following Site Plan (SP-002-15), attached as Exhibit “B,” which is made a part of and incorporated into this Resolution by this reference, is approved.

Section 3.	Pursuant to Chapter 28 “Land Development Regulations,” Part 6 “Development Review Procedures and Requirements,” Article 625 “Variances,” applications for Variances (VA-059-15), (VA-060-15), (VA-062-15), (VA-063-15) AND (VA-078-15) are hereby approved.

Section 4.	Pursuant to Chapter 28 “Land Development Regulations,” Part 5 “Signage And Design Regulations,” Article 511 “Industrial Design Standards” waivers from the appearance standards of Section 511-30 (A), (B), (C), (D), (E), (F), (G), (H), (I), (J), (K), (L), (M) and (P) and waivers from the from the landscaping, walls and fencing standards of Section 511-40 (B), (C) and (D) are hereby approved.

Section 5.	The approvals granted by this Resolution are subject to the Applicant’s compliance with the following conditions.

- The Application must be reviewed by Broward County Aviation’s Department (“BCAD”) and Federal Aviation Administration (“FAA”), as applicable. The point of contact is William Castillo; Airport Planner located at 220 SW 45 Street, Suite 101, Dania Beach, Florida 33312, or he can be reached at (954)359-6100. (Planning)

- Applicant shall provide loading calculations. (Planning)

- On Civil Plan Page C21-C23, identify the water main sizes. (Fire)

- The water mains must be looped for this project. (Fire)

- The Hydraulic calculations were provided for the sprinkler system. Please provide fire flow demand calculations for the manual fire suppression efforts in accordance with NFPA 1 (2012 Edition), Chapter 18, Section, 18.4. The calculations must be signed and sealed by the engineer of record. (Fire)

- On Civil Plan Page C21-C23 & F3, Hydrants are required every 300 feet as the truck drives. Additional hydrants required. (Fire)

- Post indicator valve must be at least 40 feet from building. (Fire)

- Demonstrate all turning radiuses. The turning radiuses must be 38 feet inside and 50 feet outside. (Fire)

- Provide statement of verification from the design professional of record, on official company letterhead, that the proposed water main sizing, fire hydrant spacing, and fire hydrant locations, are in compliance with the Broward County Land Use Code and the Florida Fire Prevention Code.  Attach signed and sealed document. (Fire)

- Provide Address Detail and location. (Fire)

- Will the FDC supply both buildings? (Fire)

- The Knox entry system will be required for Traffic Arm Gate on west drive. See Fire Marshalls Office for application. (Fire)

- On Civil Plan Page A56, the east and west elevation sheets show a conflict on drive-thru vertical height. Note: 14 feet is required. (Fire)

- Meet with the Fire Marshal’s Office to discuss moving the location of the proposed FDC. (Fire)

- Delineate all fire lanes. (Fire)

- Provide fire lane – “NO PARKING “detail. (Fire)

- If additional water / fire mains are required, a minimum of 8 inches is required.

- Provide FDC signage detail. (Fire)

- A tree survey table has been submitted, however, the following information is missing: (Landscaping)

  - Proposed disposition (remain, relocate or remove);

  - Dollar value of specimen trees calculated in accordance with section 825-140 of the Dania Beach Code. Specimen hardwood: 18” DBH and specimen palm: Minimum 6’ CW and 12” DBH. (Landscaping)

- Please note that the Tree Chart of SH-2 shows tree No. 10 as a mahogany and  LNP-4 depicts it as a black olive. (Landscaping)

- Sheets LNP-2 to LNP-5: for trees remaining on site, indicate the tree number assigned on sheet SH-2 (Survey). (Landscaping)

- Sheet LNP-4 depicts two palms by the existing septic drainfield, however, these palms are not depicted on the tree survey. Please clarify if these palms are new or existing to remain and identify species and dimensions. (Landscaping)

- Sheet LNP-2: Per Sec. 275-100 (D) terminal peninsulas shall be ten feet wide and as long as the required length of the parking stall in that aisle (exclusive of curb dimensions), and have a minimum of two category 1 trees. This requirement is also applicable to head-to-head parking rows (four category 1 trees are needed for these islands). Please adjust species and numbers in all terminal islands. (Landscaping)

- Sheet LNP-6: Per Sec. 275-190 (F) small trees shall not constitute no more than 10% of the total trees required. The plans depict 26% of this tree category. (Landscaping)

- It appears like several trees will be removed from the site. Please indicate how the mitigation of these trees will be accomplished. (Landscaping)

- Pending updated irrigation plan, to be provided once landscape plan is approved. The existing plan depicts vegetation that is not included in the landscape plan (LNP), and vice versa. (Landscaping)

- Please provide a point-by-point response to each of the above comments. (Landscaping)

- Previous comments substantially addressed. (Engineering)

- Additional comments based on submitted plans: (Engineering)

- What is the design axle load on your pavement design?

- On the traffic assessment report, generated trips are truck trips or based on passenger car equivalent?

- On sheet C-5, handicap parking bay dimension must be 12’x18’ with wheel stop. Use Broward County Traffic Engineering standards, striping must be 6”.

- On sheet C-9, do not use Broward County logo, use a plain “SEWER” marker.

- On sheet C-11, reference to City Dania Beach Public Works Manual should be changed to Broward County Minimum Standard.

- On sheet LS-1, provide hydraulic calculations to support design parameters.

- Provide stormwater calculations.

- Provide pavement markings plan for existing and proposed ingress/egress.

- Existing ingress/egress needs to be reworked.

- Provide drawing file (dwg or dgn) disk of the approved site plan in Florida State Plane Coordinate (NAD 83). This should be addressed as part of the final submittal. (Engineering)

Section 6.	Failure to adhere to the terms and conditions of approval above shall be considered a violation of the City Code and persons found violating the conditions shall be subject to the penalties prescribed by the City Code, including but not limited to, the revocation of the approvals granted by this Resolution.  The Applicant understands and acknowledges that it must comply with all other applicable requirements of the City before it may commence construction or operation, and this Resolution may be revoked by the City Commission at any time upon a determination that Applicant is not in compliance with the City Code.

Section 7.	That issuance of a development permit by a municipality does not in any way create any right on the part of an applicant to obtain a permit from a state or federal agency and does not create any liability on the part of the municipality for issuance of the permit if the applicant fails to obtain requisite approvals or fulfill the obligations imposed by a state or federal agency or undertakes actions that result in a violation of state or federal law.

Section 8.	Pursuant to Section 635.100 “Expiration of Site Plans” and Section 625-50 “Expiration of Variances,” of the Land Development Regulations, the Site Plan (SP-002-15) approval and related Waivers to Industrial Design Standards and Variances (VA-059-15), (VA-060-15), (VA-062-15), (VA-063-15) and (VA-078-15)  shall automatically expire and become null and void unless the Applicant files a complete building permit application with construction drawings for the improvements shown on the Site Plan, within eighteen (18) months from the date of this Resolution.

Section 9.	That all resolutions or parts of resolutions in conflict with this Resolution are repealed to the extent of such conflict.

Section 10.	That this Resolution shall be in force and take effect immediately upon its passage and adoption.

PASSED AND ADOPTED on _____________________, 2015.

ATTEST:

LOUISE STILSON, CMC					MARCO A. SALVINO, SR.

CITY CLERK							MAYOR

APPROVED AS TO FORM AND CORRECTNESS:

THOMAS J. ANSBRO

CITY ATTORNEY

EXHIBIT “A”

LEGAL DESCRIPTION

DESCRIPTION: (PER WARRANTY DEED, 0.R.B. 3460, PG 751, B.C.R.)

THE SOUTH 35 FEET THAT PORTION OF THE "AMENDED PLAT OF HOLLYWOOD HEIGHTS", PLAT BOOK 14, PAGE 58 OF THE PUBLIC RECORDS OF BROWARD COUNTY, FLORIDA, LYING WEST OF THE WEST RIGHT-OF-WAY LINE OF INTERSTATE 95 (STATE ROAD No. 9);

THE SOUTH 35 FEET OF THAT PORTION OF THE SE 1/4 OF THE NW 1/4 OF SECTION 33, TOWNSHIP 50 SOUTH, RANGE 42 EAST, LYING WEST OF THE WEST LINE OF SAID "AMENDED HOLLYWOOD HEIGHTS";

THE SOUTH 35 FEET OF THAT PORTION OF THE SW 1/4 OF THE NW 1/4 OF SAID SECTION 33, LYING EAST OF A LINE THAT IS 300 FEET EAST OF (AS MEASURED AT RIGHT ANGLES TO) AND PARALLEL WITH THE WEST RIGHT-OF-WAY LINE OF THE SEABOARD AIR LINE RAILROAD;

ALL THAT PROPERTY IN TRACT 5, OF TIGERTAIL GROVE RE-SUBDIVISION, LYING IN SECTION 33, TOWNSHIP 50 SOUTH, RANGE 42 EAST, AS RECORDED IN PLAT BOOK 30, PAGE 20. OF THE PUBLIC RECORDS OF BROWARD COUNTY, FLORIDA; EXCEPT THE PORTION THEREOF CONVEYED TO BROWARD COUNTY, FLORIDA FOR ROAD AND HIGHWAY PURPOSES BY SPECIAL WARRANTY DEED DATED SEPTEMBER 25, 1962 AND RECORDED IN OFFICIAL RECORDS 2473, PAGE 614 OF THE PUBLIC RECORDS OF SAID COUNTY;

ALL THAT PART OF THE N 1/2 OF THE NW 1/4 OF THE SW 1/4 OF SECTION 33, TOWNSHIP 50 SOUTH, RANGE 42 EASE, LYING EAST OF THE SEABOARD-ALL FLORIDA RAILWAY RIGHT-OF-WAY IN BROWARD COUNTY, FLORIDA; EXCEPT, BEGINNING AT THE INTERSECTION OF THE NORTH RIGHT-OF-WAY LINE OF TIGERTAIL BOULEVARD AND A POINT 100 FEET EAST OF THE WEST RIGHT-OF-WAY LINE OF THE SEABOARD-ALL FLORIDA RAILWAY, AS MEASURED AT RIGHT ANGLES, SAID POINT OF BEGINNING ALSO BEING DESCRIBED AS THE SOUTHWEST CORNER OF A TRACT FORMERLY KNOWN AS THE SEABOARD-ALL FLORIDA RAILWAY STATION GROUND; THENCE RUN EASTERLY ALONG THE NORTH RIGHT-OF-WAY LINE OF TIGERTAIL BOULEVARD 202.63 FEET; THENCE NORTHEASTERLY PARALLEL TO THE SAID RIGHT-OF-WAY LINE TO THE NORTH LINE OF THE N 1/2 OF THE NW 1/4 OF THE SW 1/4, SECTION 33, TOWNSHIP 50 SOUTH, RANGE 42 EAST; THENCE WESTERLY A DISTANCE OF 202.65 FEET ALONG SAID NORTH LINE OF THE N 1/2 OF THE NW 1/4 OF THE SW 1/4 TO A POINT 100 FEET EAST OF THE WEST RIGHT-OF-WAY LINE OF THE SEABOARD-ALL FLORIDA RAILWAY, AS MEASURED AT RIGHT ANGLES; THENCE SOUTHWESTERLY ALONG THE EASTERLY RIGHT-OF-WAY LINE TO THE POINT OF BEGINNING; THE SAID EXCEPTED TRACT OF LAND HEREIN DESCRIBED ALSO BEING KNOWN AS PART OF THE TRACT FORMERLY KNOWN AS SEABOARD-ALL FLORIDA RAILROAD GROUNDS; AND EXCEPT THE PORTION THEREOF CONVEYED TO BROWARD COUNTY, FLORIDA FOR ROAD AND HIGHWAY PURPOSES BY SPECIAL WARRANTY DEED DATED SEPTEMBER 25, 1962 AND RECORDED IN OFFICIAL RECORDS BOOK 2473, PAGE 614 OF THE PUBLIC RECORDS OF BROWARD COUNTY. (END OF DEED DESCRIPTION)

AND ALSO LESS THEREFROM PARCEL A OF DESIGNER'S PLACE AT DANIA, ACCORDING TO THE PLAT THEREOF AS RECORDED IN PLAT BOOK 129, PAGE 33 OF THE PUBLIC RECORDS OF BROWARD COUNTY, FLORIDA.

ALL OF THE ABOVE BEING MORE PARTICULARLY DESCRIBED AS FOLLOWS:

BEGIN AT THE EASTERLYMOST CORNER OF PARCEL "A" OF "THE NCL PLAT", ACCORDING TO THE PLAT THEREOF AS RECORDED IN PLAT BOOK 150, PAGE 50 OF THE PUBLIC RECORDS OF BROWARD COUNTY, FLORIDA; THENCE ALONG THE EAST LINE OF THE AFORESAID TRACT 5 OF TIGERTAIL GROVE RESUBDIVISION, SOUTH 04°16'24" EAST 665.91 FEET TO THE SOUTHEAST CORNER OF SAID TRACT 5; THENCE ALONG THE SOUTH LINE OF SAID TRACT 5, SOUTH 87°28'12" WEST 60.64 FEET TO AN INTERSECTION WITH AN EASTERLY LINE OF PARCEL "A" OF DESIGNER'S PLACE AT DANIA, ACCORDING TO THE PLAT THEREOF AS RECORDED IN PLAT BOOK 129, PAGE 33 OF THE PUBLIC RECORDS OF BROWARD, FLORIDA; THENCE ALONG SAID EASTERLY LINE THE FOLLOWING TWO (2) COURSES, (1) NORTH 09°39'28" EAST 44.07 FEET; (2) NORTH 04°16'24" WEST 309.40 FEET TO THE NORTHEAST CORNER OF SAID PARCEL "A"; THENCE ALONG THE NORTH LINE OF SAID PARCEL "A", SOUTH 87°28'12" WEST 550.00 FEET TO THE NORTHWEST CORNER OF SAID PARCEL "A"; THENCE ALONG THE WEST LINE OF SAID PARCEL "A", SOUTH 02°38'10" EAST 359.84 FEET TO THE SOUTHWEST CORNER OF SAID PARCEL "A"; THENCE ALONG A LINE 30 FEET NORTH OF AND PARALLEL WITH THE SOUTH LINE OF THE NORTHWEST ONE-QUARTER (NW 1/4) OF THE NORTHWEST ONE-QUARTER (NW 1/4) OF THE SOUTHWEST ONE-QUARTER (SW 1/4) OF SAID SECTION 33, TOWNSHIP 50 SOUTH, RANGE 42 EAST, SOUTH 87°28'12" WEST 511.41 FEET; THENCE ALONG A SOUTHERLY PROLONGATION OF AN EASTERLY LINE OF SAID PARCEL "A" OF SAID "THE NCL PLAT" AND SAID EASTERLY LINE, NORTH 06°43'38" EAST 681.14 FEET; THENCE ALONG A SOUTHERLY BOUNDARY OF SAID PARCEL "A" OF SAID "THE NCL PLAT", NORTH 87°25'19" EAST 991.66 FEET TO THE POINT OF BEGINNING.

SAID LANDS SITUATE LYING AND BEING IN THE CITY OF DANIA BEACH, BROWARD COUNTY, FLORIDA AND CONTAINING 510,898 SQUARE FEET (11.729 ACRES) MORE OR LESS.

EXHIBIT “B”