Date:               October 13, 2015

To:	Marco A. Salvino, Sr., Mayor

Bobbie H. Grace, Vice Mayor

Chickie Brandimarte, Commissioner

Walter B. Duke, III, Commissioner

Albert C. Jones, Commissioner

From:	            Robert Baldwin, City Manager

Through:        Mark Felicetty, Parks and Recreation Director

By:		Antoine Pollard, Administrative Coordinator

Subject:	“Rail Fun Day”

Event Date(s): January 30, 2016 ________________________________________________________________________

A special event is requested by the South Florida Regional Transportation Authority (Tri-Rail) to have a “Rail Fun Day” on January 30, 2016, from 11:00 a.m. to 3:00 p.m... This will be a free community event.

Recommendation: Approval with the compliance of the conditions noted below.

| Staff | Comments/Conditions |  |
| --- | --- | --- |
| Sean Brown/ BSO Fire Dept. | Insurance Rider, Site Plan received, Fire extinguishers required, power cords shall be sufficiently protected from water and shall not create a trip hazard for patrons and/or event workers. Egress plan required. Identify construction for stage. Grease fryers must have class K fire extinguishers, LP Containers must be secured. Gas grills must be permitted and pass a fire inspection and drop test fire extinguishers Pre-Event Inspections required, Fire Inspection required. |  |
| Ronnie Navarro/P.S. | No Issues. |  |
| Corinne Lajoie/Community Dev. | No objections. |  |
| Julio Briceno/Community Dev. | Contractor is required to provide the following: Provide a clear and legible site plans Provide permit applications for Electrical, structural and plumbing Provide tents: size, mfg. material fire proofing and anchoring details Provide generator information, fuel type Show on plans sanitary facility (portables) |  |
| Tom Ansbro/City Attorney | No issues. |  |
| Jackie Beauzil HR/Risk Mgmt. | No issues. |  |
| Mark Felicetty/Parks & Recreation | No issues. |  |
| Eric Walton/Code Enforcement | No issues. |  |
| Lt. Manfre /BSO Police Dept. | We are recommending a detail of two (2) deputy’s for security at this event. |  |