Date:               February 26, 2016

To:	Marco A. Salvino, Sr., Mayor

Albert C. Jones, Vice-Mayor

Chickie Brandimarte, Commissioner

Bobbie H. Grace, Commissioner

From:	            Robert Baldwin, City Manager

Through:        Mark Felicetty, Parks and Recreation Director

By:		Antoine Pollard, Administrative Coordinator

Subject:	“Dania Pointe Roller Coaster Demolition”

Event Date(s): March 16, 2016 ________________________________________________________________________

A special event is requested by Staged Right Events to have a “Dania Pointe Roller Coaster Demolition Event” on March 16, 2016, from 9:30 a.m. – 12:00 p.m. This will be a private event with government and elected officials.

The applicant is requesting the following:

- Special Event fee waiver of $150.00

Recommendation: Approval with the compliance of the conditions noted below.

| Staff | Comments/Conditions |  |
| --- | --- | --- |
| Lt. Suarez/ BSO Fire Dept. | Fire Extinguishers are required. Tent/canopy required. Generator permits required. Power cords shall be sufficiently protected from water and shall not create a trip hazard for patrons/or event workers. Fire Department or additional access required. The use of pyrotechnics and/or fireworks display is not permitted on this location. What method is used to demolish the roller coaster? Pre-event inspection required. |  |
| Ronnie Navarro & Brad Kane/P.S. | Pending |  |
| Corinne Lajoie/Community Dev. | No objection |  |
| Julio Briceno/Community Dev. | Permits required for Building (tent); Electrical (generator); Plumbing (sanitary) |  |
| Tom Ansbro/City Attorney | I expect they will address safe areas for parking, hopefully not dirt surfaces since winds can kick up, and rain could be involved. |  |
| Jackie Beauzil HR/Risk Mgmt. | Not on City property no issues |  |
| Mark Felicetty/Parks & Recreation | No Parks & Recreation issues |  |
| Eric Walton/Code Enforcement | Met them on site already, no code or parking issues. |  |
| Captain Marks/Lt. Manfre /BSO Police Dept. | Pending |  |