Date:               May 11, 2016

To:	Marco A. Salvino, Sr., Mayor

Albert C. Jones, Vice-Mayor

Chickie Brandimarte, Commissioner

Paul Fetscher, Commissioner

Bobbie H. Grace, Commissioner

Paul Fetcher, Commissioner

From:	            Robert Baldwin, City Manager

Through:        Mark Felicetty, Parks and Recreation Director

By:		Antoine Johnson, Administrative Coordinator

Subject:	“Neptune Fireworks Sales”

Event Date(s): July 3 - July 12, 2016 ________________________________________________________________________

A Special Event is requested by Neptune Fireworks Sales to have a “Fireworks Sale” on June 3 – July 12, 2016 daily from 9am- 9pm. This event will be held at 768 E Dania Beach Blvd.

Recommendation: Approval with the compliance of the conditions noted below.

| Staff | Comments/Conditions |  |
| --- | --- | --- |
| Lt. Suarez/ BSO Fire Dept. | Insurance Rider required.(Complied) Site Plan required(Complied) Crowd Management Plan. Fire Extinguishers. Tent/Canopy Permit and Plan required. Power cords sufficiently protected from water and shall not create a trip hazard for patrons and or event workers. Identify intended date for tents/canopies to be ready for inspections. Max occupant load is not to be exceeded at any time. One Crowd Manager is required for every 250 occupants. Please provide a CCM training certificate/documentation to the Dania Beach fire Marshall’s Office for each CCM. |  |
| Ronnie Navarro & Brad Kane/P.S. | No response |  |
| Corinne Lajoie/Community Dev. | No objections |  |
| Julio Briceno/Community Dev. | Permit applications required for Building, Electrical and Mechanical. Provide A/C units information, mounting detail, duct systems and smoke duct detectors. All tents must be flame retardant, provide certificate of flame retardant and a sample of the tent fabric. |  |
| Tom Ansbro/City Attorney | No issues |  |
| Jackie Beauzil HR/Risk Mgmt. | No response |  |
| Mark Felicetty/Parks & Recreation | No issues |  |
| Eric Walton/Code Enforcement | No comment |  |
| Lt. Manfre /BSO Police Dept. | Security Plan needed***BSO Detail |  |